****

**Benton County School District**

**Ashland Elementary School Gymnasium Air Conditioning**

Opening Date of Bidding Process: 12/13/23

Closing Date of Bidding Process: 1/12/23

Submit bids (paper or electronic will be accepted) to:

**AES Air Conditioning Bids**

**Benton County School District**

**Attn: Harold Nicholson**

**213 Court St.**

**Ashland, MS 38633**

Email questions and/or electronic bids to Harold Nicholson at hnicholson@benton.k12.ms.us

Equipment/Services Requested:

* Install new 25 ton gas package unit for the gym
* Install bracket to support duct work
* Run new gas line to the unit
* Run electrical to the unit
* Complete start up on the unit
* 1 year parts and labor (minimum)
* 5 year compressor warranty (minimum)
* 10 year heat exchanger warranty (minimum)

Exclusions:

* Formed concrete
* Any general construction not listed above
* Hazardous material identification, testing, abatement or disposal
* Seismic restraints
* Engineered drawings
* Any piping modifications not listed in above scope
* Any wall/wall covering paint, patch or repair
* Structural steel work
* Fire protection or modifications to existing fire alarm system or panel
* Any contingency allowances for non-associated repair work or needs outside of the above noted scopes of work
* Owner will remove the exhaust fans and blank off the holes
* Owner will blank off the fresh air vents for the exhaust

Project Clarifications:

* All work will be performed during normal operating hours unless otherwise noted
* Minimum one (1) year warranty on parts, material and labor
* Prices submitted should be for complete job including labor, material, sales tax and permits as applicable unless otherwise noted

**R WHAT LIES AHEAD!**