INVITATION FOR BIDS

DHUD FORMAT 4238-A

Separate sealed bids for the construction of ***WASTEWATER COLLECTION SYSTEM ADDITION, CDBG NO. 1137-20-204-PF-01*** will be received by the ***CITY OF GUNTOWN*** at Town Hall board room at ***1589 MAIN STREET, GUNTOWN, MS 38849*** until ***10:00 A.M. THURSDAY NOVEMBER 17th, 2022*** at which time all Bids will be publicly opened and read aloud.

**Base Bid**

Base Bid consists of the following items and approximate quantities:

|  |  |  |
| --- | --- | --- |
| 8” SDR 35 PVC Gravity Sewer Line | 2,771 | LinFt |
| 8” CL 350 DIP Gravity Sewer Line, PE Encased | 670 | LinFt |
| 8” CL 350 DIP Restrained-Joint Gravity Sewer Line, PE Encased | 106 | LinFt |
| 48” Manholes, 0-6’ Depth (Vented and Sealed) | 16 | Each |
| 48” Manhole Extra Depth | 32 | LinFt |
| 8” Manhole Drop Connection | 1 | Each |
| 8” GSL Connection to Existing Manhole | 2 | Each |
| 14” or 16” x 0.250” Bored and Open-Cut Steel Encasement | 126 | LinFt |
| 8” x 0.188” Open-Cut Steel Encasement | 50 | LinFt |
| 8”x4” PVC Wye or Tee Branches | 10 | Each |
| 4” or 6” PVC Service Lines | 2,249 | LinFt |
| 4” or 6” PVC Cleanouts | 13 | Each |
| 4” or 6” PVC Two-Way Cleanouts | 8 | Each |
| Service Connection to Customers | 13 | Each |
| 8" SDR 35 PVC GSL Stub-Out, All Depths | 10 | Each |
| CDBG Project Sign and Bulletin Board | 1 | LS |
|  | | |
| Additional miscellaneous appurtenant items, including but not limited to, crushed stone foundation stabilization, select borrow material, stone riprap, pipeline identification markers, resurfacing, and erosion control items will be a part of the Base Bid. | | |

**Deductive Alternate Bid #1 (Line “A” Segment 4)**

Deductive Alternate Bid #1 includes deducting Line “A” Segment 4 as shown on the drawings from the Base Bid.

**Deductive Alternate Bid #2 (Line “C” Segment 2)**

Deductive Alternate Bid #2 includes deducting Line “C” Segment 2 as shown on the drawings from the Base Bid.

**Deductive Alternate Bid #3 (Line “C” Segment 1)**

Deductive Alternate Bid #3 includes deducting Line “C” Segment 1 as shown on the drawings from the Base Bid.

Each bid must be submitted in a sealed envelope addressed to the ***CITY OF GUNTOWN***, marked on the outside as ***"Bid for WASTEWATER COLLECTION SYSTEM ADDITION, CDBG NO. 1137-20-204-PF-01.”*** Any bid for a sum in excess of $50,000.00 shall contain on the outside or exterior of the envelope of such bid the contractor's current certificate of responsibility number, and no bid shall be opened or considered unless such contractor's current certificate number appears on the outside or exterior of the envelope or unless there appears a statement on the outside or exterior of such envelope to the effect that the bid enclosed does not exceed $50,000.00.

Bids will be accepted only under the name of the Bidder to whom contract documents have been issued by the Engineer.

Contract Documents, including Drawings and Specifications, are on file at the ***CITY OF GUNTOWN, 1589 MAIN STREET, GUNTOWN, MS 38849*** and at the Office of Cook Coggin Engineers, Inc., 703 Crossover Road, Tupelo, Mississippi 38801.

Bidders are encouraged to register for an account at [www.cceplanroom.com](http://www.cceplanroom.com) to view or order Contract Documents. The only requirement for registration is a valid email address. Contract Documents are distributed and available only from Plan House Printing and Graphics, 607 West Main Street, Tupelo, MS 38804. Bid documents can also be purchased through Plan House Printing. All payments for Bid Documents are non-refundable and shall be made payable to Plan House Printing and Graphics, 607 West Main Street, Tupelo, MS 38804. Questions regarding website registration and online orders please contact Plan House Printing at (662) 407-0193.

A certified check or bank draft, payable to the order of the ***“CITY OF GUNTOWN”*** negotiable U.S. Government bonds (at par value), or a satisfactory Bid Bond executed by the Bidder and an accepted Surety, in an amount equal to five percent (5%) of the total of the Bid shall be submitted with each bid. The successful bidder will be required to furnish a Payment Bond and Performance Bond each in the amount of 100 percent of the contract amount.

This project is financed by a Community Development Block Grant and is subject to the rules and regulations thereof.

The successful bidder must comply with Section 3 of the Housing and Urban Development Act of 1968 (12 U.S.C. 1701u). CDBG regulations governing the grant require that, to the greatest extent feasible opportunities for contracting, subcontracting, training and employment arising in connection with this CDBG project will be extended to Section 3 businesses and Section 3 residents.

Minority and Woman Owned Business Enterprises are solicited to bid on this contract as prime contractors and are encouraged to make inquiries regarding potential subcontracting opportunities, equipment, material and/or supply needs.

The ***CITY OF GUNTOWN*** is an Equal Opportunity Employer, and hereby notifies all Bidders will be afforded the full opportunity to submit bids in response to this invitation and will not be discriminated against on the grounds of race, color, religion, sex, national origin, age, disability, sexual preference, marital or veteran status, or any other legally protected status in consideration for an award.

The successful bidder must comply with the Davis-Bacon Act which requires that all laborers and mechanics shall be paid at rates not less than those determined by the Department of Labor to be prevailing for the locality in which the project is located.

The Owner reserves the right to reject any or all bids or to waive any informality in the best interest of the Owner.

Bids may be held by the Owner for a period not to exceed 60 days from the date of the opening of Bids for the purpose of reviewing the bids and investigating the qualifications of Bidders, prior to awarding of the Contract.

***MAYOR BRENT LINDSEY***

***CITY OF GUNTOWN***

Publish:  ***October 18, 25, 2022***