RANKIN COUNTY SCHOOL DISTRICT

REQUEST FOR PROPOSAL

1220 APPLE PARK PLACE

BRANDON MISSISSIPPI 39042

TELEPHONE

(601) 825-5590

INVITATION:  Electronic bids, subject to the conditions herein stated and attached hereto, will be received at this office until 10:00 a.m. TUESDAY, FEBRUARY 19, 2019, local time and then publicly opened, read aloud and taken under advisement for the sale of the items listed below:

DESCRIPTION

Building Cabling Projects

All bid information may be obtained via the following web address: www.rcsd.ms/bids or www.bidnetdirect.com/mississippi/rankincountysd. You may also obtain the documents in person at the Administrative Office Building of the Rankin County School District, located at 1220 Apple Park Place, Brandon Mississippi.

Electronic bids should be submitted through the website: https://www.bidnetdirect.com/mississippi/rankincountysd

To register at no charge, simply click on the "Register" link. Follow the registration path and select the "Limited Access" option, which will provide you with matching bid notifications and alerts from Rankin County School District. We welcome your participation and cooperation!

Inquires regarding this bid can be submitted online at the following: https://www.bidnetdirect.com/mississippi/rankincountysd

# INTRODUCTION

Subject: The Rankin County School District wishes to receive bids for network cabling involving several of our schools listed below.

| School Name | General Scope of Project |
| --- | --- |
| Brandon High School | New classroom wing added to existing building including Multimedia classroom with fiber connection for sports broadcasting sites |
| Pelahatchie High School | Additional classrooms |
| Puckett High School | Additional classrooms |

General Requirements:

Architectural drawings with specifications for cabling will be provided to vendors that attend a mandatory site visit.

Terms used throughout this RFP

USAC – Universal Service Administrative Company

SPAC - Service Provider Annual Certification

SPIN – Service Provider Identification Number

|  | BID CALENDAR |  |
| --- | --- | --- |
|  | BID NUMBER 19-06 |  |
| Bid Publication |  | January 23, 2019 |
| Bid Publication |  | January 30, 2019 |
| Last day for Questions |  | February 14, 2019 |
| Proposals Due | February 19, 2019 |
| Recommendation to PPRB Board | March 6, 2019 |
| Recommendation to RCSD Board | March 20, 2019 |

VENDOR BID INSTRUCTIONS

B-1 - DELIVERY OF BIDS:

- The Rankin County School Board will receive electronic bids through the site https://www.bidnetdirect.com/mississippi/rankincountysd in the office of the Director of Purchasing, Administrative Office Building of the Rankin County School District, 1220 Apple Park Place, Brandon, Mississippi, as per the date and time specified on page 1, at which time the bids will be publicly opened, read aloud and taken under advisement.

- No employee of the Rankin County School District shall be entitled to submit a bid.

- Bids or alterations by fax or telephone will not be accepted.

- If the Rankin County School District Administrative Office Building is closed for any reason, including but not limited to:  acts of God, strikes, lockouts, riots, acts of war, epidemics, governmental regulations superimposed after the fact, fire, earthquakes, floods or other natural disasters (the “Force Majeure Events”), which closure prevents the opening of bids at the advertised date and time, all bids received shall be publicly opened and read aloud on the next business day that the district shall be open and at the previously advertised time.  The new date and time of the bid opening, as determined in accordance with this paragraph, shall not be advertised, and all Vendors/Contractors, upon submission of a bid proposal shall be deemed to have knowledge of and shall have agreed to the provisions of this paragraph. The district shall not be held responsible for the receipt of any bids for which the delivery was attempted and failed due to the closure of the district offices as a result of a Force Majeure Event.  Each Vendor/Contractor shall be required to ensure the delivery and receipt of its bid by the district prior to the new date and time of the bid opening.

B-2 - BID ADDENDUM:

- Any interpretation of the documents will be made by written addendum only issued by the office of the Director of Purchasing and a copy of such addendum will be posted on the district website and to https://www.bidnetdirect.com/mississippi/rankincountysd. The district will not be responsible for any other explanation of the proposed document.

- As per Mississippi Code of 1972, as amended; SEC. 31-7-13. Bid requirements and exceptions; (iv) No addendum to bid specifications may be issued within forty-eight (48) working hours of the time established for the receipt of bids unless such addendum also amends the bid opening to a date not less than five (5) working days after the date of the addendum.

B-3 - PROPER EXECUTION

- All bids must be submitted in accordance with Section 31-7-13 and Section 37-7-455 of Mississippi Code of 1972 as amended, and must be properly executed and signed by the Bidder or a responsible officer or employee of the Bidder.

- Bids should be checked before submission for accuracy and correctness since the Rankin County School District WILL NOT be responsible for any errors for which the Bidder is responsible.

- The district reserves the right to reject bids from Bidders who submit poorly completed bids.

B-4 - CERTIFICATION OF INDEPENDENT PRICE DETERMINATION:

By signing the BIDDER’S PROPOSAL FORM the Bidder certifies, in connection with procurement, to the best of their knowledge and belief:

- That the prices in the BIDDER’S PROPOSAL FORM have been arrived at independently, without consultation, communication, or agreement, for the purpose of restricting competition; as to any matter relating to such prices with any other Bidder.

- That unless otherwise required by law, the prices have not been knowingly disclosed by the Bidder and will not knowingly be disclosed by the Bidder prior to the Bid Opening Date and Time specified on the NOTICE TO BIDDERS, directly or indirectly with any other Bidder.

- That no attempt has been made or will be made by the Bidder to induce any other Person or Bidder to submit or not to submit a BID PROPOSAL for the purpose of restricting competition.

B-5 - BID WITHDRAWAL and MODIFICATION:

- Bids submitted electronically may be modified or withdrawn up until the closing date and time.

- No withdrawals will be accepted by telephone or fax.

- No bids shall be withdrawn for a period of thirty (30) days following the bid opening date.

B-6 - BID OPENING:

- All bid openings are open to the public.  The Rankin County School District staff will read a summary of each bidder's bid and answer questions to the extent possible at the time.  Any information provided in the bid which contains trade secrets or confidential commercial or financial information and which bidder does not wish to be disclosed other than for purposes of evaluating it must be clearly labeled on each sheet as confidential.

- All disclosures of bid information to interested parties will be made in compliance with Rankin County School District policies and procedures established in accordance with the Mississippi Public Records Act of 1983 defined in Section 25-61 of the Mississippi Code.

B-7 - RIGHT TO REJECT BIDS:

The Rankin County Board of Education reserves the right to reject any and/or all bids or any groups thereof and waive any defect or informality in any bid or bidding procedure.

B-8 - BID ACCEPTANCE:

- If the Rankin County School District accepts a bid in response to this request, it will accept the bid of and award the bid to the lowest and best responsive bidder.

- Unless otherwise stated in the BID SPECIFICATIONS all bids shall be binding for a minimum of thirty (30) days following the acceptance of the bid by the Rankin County Board of Education.

B-9 - BID AWARD:

# Evaluation Criteria

The RCSD will award a contract based on the vendor submission that best meets the needs of the school system with regard to the current Technology Plan, future growth, RFP specifications, and not necessarily the lowest price even though price will be a priority factor.  The following factors will be considered when evaluating responses:

- E-rate approval by USAC

- Must have current USAC SPAC

- References of at least two installations of similar application size and complexity and two or more references of outside/wide area cable and wireless installation relating to fiber or other high-bandwidth capable media.

- Overall cost and quality of proposal

- Service provider MUST attend the MANDATORY site visit. Bids will not be accepted for those not in attendances at the meeting.

Mandatory Site Visit

The mandatory site visit will be held at 1:00 PM on Friday, February 1st at the Rankin County School District Technology Center located at 127-A Pleasant Street, Brandon, MS 39042. There will be a brief over view of the scope of the project. Vendors will be given a schematic drawing of each site to use as a guide for locating existing cabling and wiring closets and for placement of new cabling. The time will be used to take notes and ask questions of both the Network Administrator of the district and the building project’s electrical engineer to determine the proper number of drops required per classroom and the correct materials needed to complete the project.

# Vendor Qualifications

The winning vendor must have or be certified with the following:

- Must be able to supply all products and services.

- Must be an authorized dealer in the State of Mississippi for all products.

- Must have appropriate Manufacturer Partner Status for products being quoted.

- Must have an E-Rate vendor with a Form 498 on file

# Disqualification of Bidder

The Owner reserves the right to award to other than the lower Bidder when, in the Owner’s judgment, it is in his best interested to do so.  A Bidder may be disqualified for such reasons as:

- Bidder’s failure to comply with requirements regarding Certificate of Responsibility.

- Bidder’s failure to sign Bidder’s Proposal Form or to otherwise properly complete the Proposal Form.

- Bidder being in arrears on existing contracts.

- Bidder being in litigation with the Owner.

- Bidder having defaulted on a previous contract.

- Bidder having preformed unsatisfactorily on a previous contract, including but not limited to the Bidder’s failure to fulfill the warranty obligations of a previous contract with the Owner.

- Bidder’s failure to include documentation for required certifications and authorizations.

The above is not an inclusive list.

B-10 - BILLING/ORDERING

- All items or services shall be billed to the individual school(s) or department(s) to which they are delivered or performed, unless otherwise specified in the BID SPECIFICATIONS.

- All invoices are due in the Administrative Office Building of the Rankin County School District, 1220 Apple Park Place, Brandon, Mississippi 30942, on or before the last day of each month.  If they are not received by that date payment will not be made until the following month.

- Payment of above described invoices shall be on the 2nd Wednesday of each month.

- No negotiations, decisions or actions shall be executed by any bidder as a result of any discussions with any District employee.  Only transactions that are on a Rankin County School District purchase order may be considered official.

B-11 - DAMAGE OR LOSS:

- Any damage or loss to Rankin County School District property as a result of any action by the successful Bidder in the execution or performance of any item or service in this bid, shall be repaired to the satisfaction of the Rankin County Board of Education, at the Bidder’s expense, within a reasonable time set forth by the Rankin County Board of Education.

- The successful Bidder shall hold the Rankin County Board of Education, Rankin County School District, its Officers, Agents and Employees harmless from liability of any nature or kind whatsoever, because of use of by publisher or author, manufacturer or agent of any copyrighted or un-copyrighted composition, secret process, patented or unpatented invention, article, environment-sensitive material, or appliance furnished or used under this bid.

B-12- DELIVERY:

- It is understood that the Bidder agrees to deliver all items prepaid (F.O.B. Destination) to points of receipt.  All related cost for delivery are to be borne by the Bidder and should be included in their bid.

- Any items requiring unpacking and/or assembly and/or installation WILL BE UNPACKED, ASSEMBLED, INSTALLED AND SET IN PLACE AND MADE FULLY OPERATIONAL BY THE SUCCESSFUL BIDDER AT THEIR OWN EXPENSE, at the time and place designated by the Rankin County School District, unless otherwise stated in the bid specifications.

- Under no circumstances will the Rankin County School District assume any responsibility in connection with deliveries of the items bid.

- If the successful Bidder fails to deliver by the specified delivery date or a reasonable time thereafter, giving acceptable reasons for delay, the Rankin County School District reserves the right to cancel the portion which he has failed to deliver within the specified time and/or to purchase it elsewhere, charging the increase in price and cost of handling, if any, to the Bidder.

General Conditions

The following are the General Conditions for the work to be performed as outlined in the Detailed Specifications:

C-1 - Location of Sites:

The location of the work is on property owned by the Rankin County School District and through negotiated services on right-of-ways.

C-2 - Scope of Work:

- It is understood that, except as otherwise specifically stated in this RFP, The Service Provider shall provide and pay for all materials, labor, tools, equipment, transportation, temporary construction of every nature and all other services and facilities of every nature whatsoever, necessary to execute, complete and deliver the work within the specified time. Licenses necessary for the execution of the work shall be secured and paid for by the Service Provider.

- Any work necessary to be performed after regular working hours, on weekends or legal holidays, shall be performed without additional expense to the Rankin County School District, unless the weekend or holiday work is due to a delay caused by the Rankin County School District.

C-3 - Protection in General:

The Vendor shall protect all buildings, furniture, equipment, personal items, trees, shrubs, lawns and all landscaping on school property from damage. Any damaged property shall be repaired or replaced at the Vendor's expense. Labor shall include all restoration (leveling, sod replacement) of grounds broken up during the installation of this network.

C-4 - Change in Contract:

The Rankin County School District will not be responsible for any change in the work involving extra costs unless approval in writing is furnished by the Directory of Technology before such work is begun.

C-5 - Existing Conditions:

The Vendor, in submission of this proposal, will have visited the premises and will be assumed to have taken into consideration all conditions, which might affect this work. No consideration will be given to any claims based on a lack of knowledge of existing conditions. To setup a site visit to each location, contact Amanda Harris at: aharris@rcsd.ms

If a vendor does not receive a response within 24 hours, it is the responsibility of the vendor to call Amanda Harris at 601-825-8626 and confirm that the email message was received.

C-6 - Workmanship:

All work shall be performed in a professional manner. Personnel from the Rankin County School District may observe the work procedures and workmanship of the Vendor, but such observation will not relieve the Vendor from any responsibility of performance or constitute acceptance of the work performed.

C-7 - Financing:

The Vendor will provide a binding contract to the Rankin County School District for submission to the Schools and Libraries Division.

C-8 - Proposal Submittal:

In order to be eligible for submission of a quote, the vendor must complete a site visit to the Rankin County School District Technology Department.  If the vendor needs to physically see any of the schools they must request permission from Amanda Harris before they visit the schools. No vendor should visit the schools without the permission of Amanda Harris. Any submissions submitted by a company that has not completed a site visit will be returned unopened.

C-9 - The Vendor’s Qualifications:

The Vendor must provide proof of registration with the (SLD) for reimbursement under E-Rate guidelines for Category Two Services.

The Vendor must hold a General Contractors License in the State of Mississippi.

C-10 - Stored Materials:

Any materials stored on job site shall be the Vendor’s responsibility.

C-11 - Accident Prevention:

Precautions shall be exercised at all times for the protection of persons (including employees and students) and property and hazardous conditions shall be guarded against or eliminated.

C-12 - Indemnification:

The Vendor agrees to hold the Rankin County School District harmless and to indemnify the Rankin County School District for every expense, liability or payment arising out of or through injury (including death) to any person or persons or damage to property (regardless of whom the owner may be of the property) of any place in which work is located arising out of or suffered through any act or omission of The Vendor or Subcontractor.

C-13 - The Vendors’ Representative:

The Rankin County School District reserves the right, with sole discretion, to refuse to allow any representative of The Vendor to service the contract in any manner. In this event, The Vendor shall furnish another representative that is acceptable to the Rankin County School District. Examples of reasons for refusing to allow a Vendor representative to service the contract include, but are not limited to:

· Use of profanity or abusive language around any school personnel or students.

· Unclean or unkempt appearance.

· Intoxication or obvious drug use.

· Threatening behavior towards any school personnel or students.

Should the Vendor use subcontractors for portions of the work, the Rankin County School District reserves the right to reject any subcontractor without explanations or recourse by The Vendor or subcontractor.

C-14 - The Rankin County School District Regulations:

The Vendor and his representatives shall follow all applicable school district regulations while on the Rankin County School District property, including the no smoking, no weapons, and drug free policies. No work shall interfere with school activities or environment unless the Principal or person in charge gives permission. All Vendor personnel shall be easily identified by the use of identification badges and uniforms or shirts with The Vendor’s logo clearly visible.

C-15 - Governing Law:

All RFPs and related documents submitted to the Rankin County School District by the Vendor are governed under the laws of the State of Mississippi.

C-16 - The Rankin County School District reserves the right to:

a. Give full and proper consideration to the service, reputation, product knowledge, and

experience of all companies presenting proposals, and to disqualify any such vendor it

deems unqualified to provide the services requested.

b. Reject any and all proposals if deemed necessary.

c. Accept any alternative proposal believed to be in the best interest of the district.

d. Waive any formality in the quote submission.

e. Cancel any awarded bid if the service proves unsatisfactory.

C-17 - Price Quotations:

Price quotations are to include the furnishing of all materials, equipment, maintenance, shipping costs, delivery, installation, drawings and the provision of all labor and services necessary or proper for the completion of the work as may be otherwise expressly provided in the contract documents. The Rankin County School District will not be liable for any costs beyond those proposed herein. Please be advised that public schools are specifically exempted from the payment of Mississippi Sales Tax.

In case of discrepancy in computed proposal prices, the unit price shall govern and the total price shall be revised accordingly.

C-18 - Variation in Quantities and Configuration:

The Customer reserves the right to modify quantity and configuration requirements. The Vendor agrees to sell the Rankin County School District the revised quantity of items at the unit price stated in the proposal regardless of quantity changes.

C-19 - Terms of Payment:

The start of services for this project may not begin prior to April 1, 2019.  The Rankin County School District will issue an SLD Form 486 on the day services begin. For the duration of the contract, payments will be made on the first Friday after the first meeting of the Rankin County School District Board of Trustees after the submission of invoices from the vendor.

C-20 - Turnkey Solution:

All proposals are to provide a turnkey solution for installation of cabling in buildings.

# Detailed Specifications

The specifications provided in this section are intended to convey the characteristics of providing additional structured cabling in three schools within the Rankin County School District.

The Rankin County School District is looking for quotations for a reliable, dependable cabling infrastructure in new building additions at three schools in our gigabyte switching and wireless network.

RCSD is currently based on either Cat5 or Cat6, depending on the age of the LAN with some existing fiber connections between certain buildings. The District proposes to maintain the existing fiber cabling where buried unless testing of cabling proves it to be damaged or in need of replacement. Terminating and testing all new drops or any replacement drops that are installed will be included in the installation of the project. New racks or patch panels may be included as deemed necessary in the project.

The scope of the project will be as follows:

Install new Category 6 cabling drops as needed for new rooms as marked in plans. Install fiber (either single or multimode based on distance and use) based on plans.

TESTING

- Testing of all newly installed cable channels shall be performed prior to system cutover.

- Fiber optic new and existing, if installed, shall be tested prior to system cutover.

LABELING AND DRAWING

- Horizontal and backbone cables shall be labeled at each end.  The cable or its label shall be marked with its identifier.

- A unique identifier shall be marked on each faceplate to identify it as connecting hardware.

- Each port in the faceplate shall be labeled with its identifier.

- Each port on the connecting hardware shall be labeled with its identifier.

- As-built drawings shall be supplied by the contractor showing the locations of and identifiers for all:

- Horizontal cable routing and terminations

- Telecommunications outlets/connectors

- Backbone cable routing and terminations

- Close out documents shall be provided to the District upon completion of the project.

Contractor shall warranty parts and labor for the installed cabling system for a period of not less than one year.

The Rankin County School District Responsibilities

E-1 - Access for Installation:

The Rankin County School District will, during the progress of the installation, allow the Vendor and its employees access to the premises and facilities at all reasonable hours or at such hours as the Rankin County School District representative and the Vendor agree upon.

The Rankin County School District will provide access to existing conduit to all work locations, floors, buildings, etc., to support the media installation and provide Vendor access to these adjacent areas where and when required.

E-2 - Heating/Cooling:

Provide heat or cooling when required and general illumination in rooms where work is to be performed by The Vendor.

E-3 - Inspections:

Promptly make inspections when notified by the Vendor that the equipment or any part thereof, is ready for acceptance.

E-4 - Electrical:

The Rankin County School District Schools will provide all electrical needs within the district buildings.

E-5 - Delay in Work:

It is understood that the Vendor will not be held accountable for any delays caused by the Rankin County School District.

THE VENDOR'S RESPONSIBILITIES

F-1 - Provision:

The Vendor must provide all supervision, tools, equipment, hardware and wiring materials as specified; transportation, erection, construction, unloading, inspecting, and keeping inventory as specified in attached contract documents. Whenever in the Contract the terms "provide, furnish, supply, install, etc.”, can be interpreted as requiring the Vendor both to furnish and/or install materials, unless specific provisioning/installation of the materials by the Rankin County School District is denoted.

F-2 - Firewalls:

Provide for the installation of all conduits and sleeves through firewalls and application of fire-stopping materials as required to meet codes.

F-3 - Ceiling Tiles:

Provide for the removal and reinstallation of all ceiling tiles as needed. Any broken ceiling tiles will be replaced with equal or better quality of the damaged ceiling tiles.

F-4 - Identification:

The Vendor will identify to the district any work necessitating cutting into or through any part of the building structure such as girders, beams, concrete, tile floors or partition ceilings.

F-5 - Permits:

The vendor shall obtain all necessary county, municipal, and/or state work/building permits. This includes any permits that may be needed to gain the right of way for outside fiber pulls.

F-6 - Damage:

The Vendor will be responsible for repairs of damage to the building, roads, equipment, existing cable, or property. The Vendor will promptly report to a representative of the Rankin County School District any such damage to the building, roads, equipment, existing cable, or property that may occur while performing work in the facilities.

F-7 - Installation:

Install the wire, cable, and/or associated hardware in accordance with the manufacturer’s specifications. All cabling and equipment shall be sufficiently labeled such that the equipment

designation or purpose, interconnections and cabling endpoints can be easily determined.

F-8 - Test and Inspections:

Conduct tests and inspections in the presence of the Rankin County School District technical representative after installation has been completed in order that the Rankin County School District may be assured that the requirements for the installation are met.

F-9 - Completion Notification:

Promptly notify the Rankin County School District designated contact of completion of this proposed project.

F-10 - Defects:

The Vendor will promptly correct all defects for which the Vendor is responsible.

F-11 - The Rankin County School District Contact:

The Vendor must coordinate all work with the Rankin County School District designated contact(s).

F-12 - Cleanup:

Upon completion of the work each day, the Vendor must remove all tools, equipment, rubbish and debris from the premises and must leave the premises clean and neat and in the same condition as it was found.

F-13 - Subcontractors:

The Vendors may use subcontractors to perform work. However, all responsibilities rest with the Vendor.

F-14 - Testing:

The Vendor will provide the Rankin County School District with complete detailed test results. The test results must be delivered to the Rankin County School District before payment.

F-15 - Codes, Standards, and Ordinances:

All work shall conform to the latest edition of the National Electrical Code, the Building Code, and all local codes and ordinances, as applicable. ANSI/TIA/EIA-568-A and ANSI/EIA/TIA-569 shall be adhered to during all installation activities. Methodologies outlined in the latest edition of the BICSI Telecommunications Distribution Methods Manual shall also be used during all installation activities. Should conflicts exist with the foregoing, the authority having jurisdiction for enforcement will have responsibility for making interpretation

F-16 - Safety:

The Vendor shall take the necessary precautions and bear the sole responsibility for the safety of the methods employed in performing the work. The Vendor shall at all times comply with the regulations set forth by federal, state, and local laws; rules; and regulations concerning “OSHA”, and all applicable state labor laws, regulations, and standards. The Vendor shall indemnify and hold harmless The Customer from and against all liabilities, suits, damages, costs, and expenses (including attorney’s fees and court costs) that may be imposed on The Customer because of The Vendor, subcontractor, or supplier’s failure to comply with the regulations stated herein.

F-17 - Patents and Royalties:

The Vendor, without exception, shall indemnify and hold harmless The Customer and its employees from any liability of any nature or kind, including costs and expenses for or on account of any trademarked, copyrighted, patented, or non-patented invention, process, or article manufactured or used in the performance of the Contract, including its use by The Customer. If The Vendor or subcontractor uses any design, device, or material covered by letters, patent, trademark, or copyright, it is mutually understood and agreed without exception that the proposal prices shall include all royalties or cost arising from the use of such design, device, or materials in any way involved in the work.

F-18 - USAC Certifications:

The Vendor must be an approved USAC service provider with a current SPIN and SPAC. It will be the responsibility of the vendor to maintain all USAC certifications throughout the term of the contract.

F-19 - Indemnification:

The Vendor shall indemnify and hold harmless The Customer, its agents and employees from or on account of any injuries or damages, received or sustained by any person or persons during or on account of any operation connected with this Contract; or by consequence or any negligence (excluding negligence by The Customer, its agents, or employees) in connection with the same; or by use of any improper material or by or on account of any act or omission of said Vendor or its subcontractors, agents, servants, or employees. The Vendor further

agrees to indemnify and hold harmless The Customer, its agents or employees, against claims or liability arising from or based upon the violation of any federal, state, county, city, or other applicable laws, bylaws, ordinances, or regulations by The Vendor, its agents, associates, or employees.

The indemnification provided above shall obligate The Vendor to defend at its own expense or to provide for such defense, at The Customer’s option, of any and all claims of liability and all suits and actions of every name and description that may be brought against The Customer which may result from the operations and activities under this Contract whether the installation operations be performed by The Vendor, subcontractor, or by anyone directly or indirectly employed by either.

The award of this Contract to The Vendor shall obligate The Vendor to comply with the foregoing indemnity provision; however, the collateral obligation of insuring this indemnity must be complied with as set forth.

# QUOTE SUBMISSION FORM

# Company Name of Vendor ______________________________________________

# Corporate Headquarters Address _________________________________________

# City ______________________  State ________  Zip ____________

# Vendor Contact Name __________________________________________________

# Vendor Contact Phone Number ___________________________________________

# Vendor Contact Email Address ____________________________________________

# E-Rate Service Provider Name ____________________________________________

# E-Rate Service Provider Identification Number (SPIN) _________________________

# Address of Mississippi Office  ____________________________________________

# City ______________________  State ________  Zip ____________

# 24 Hour Toll Free Help Desk Phone Number  ________________________________

# SITE VISIT FORM

# DATE _______________________________________________________

# VENDOR NAME ______________________________________________

# CONTACT INFORMATION FOR CHANGES / UPDATES / CLARIFICATIONS

# CHECK PREFERED

# CONTACT METHOD

# Name ___________________________________

# Address _________________________________

City _______________   State ____  Zip _______              ______

Phone Number ____________________________             ______

Email Address  ____________________________             ______