The Harrison County Development Commission (HCDC) will receive the sealed bids for *the Installation of Double 48” Drainage Pipe*, located within the Bernard Bayou Industrial District in Harrison County, Mississippi. Said bids will be accepted until and opened on the day of **Friday, September 13th, 2019**, at **10 a.m. central standard time** at the HCDC offices, located at **12281 Intraplex Parkway Gulfport, MS 39503**. Contract requirements and specifications will be available for the inspection at the HCDC offices, you may also call **228-896-5020** or email *bids@mscoast.org*. For jobs awarded, it is the vendors responsibility to ensure HCDC receives certificates of liability/workers’ comp and motor vehicle insurance prior to each expiration year. The Commission reserves the right to reject any and all bids. Bids must be considered valid for a period of 90 days.

**Specifications**:

1. **Pipe**:
   1. Pipe needs to be 72 LF of Double 48” Round CL III reinforced concrete.
   2. Culvert pipe (120 LF total) with flared end sections on each end.
2. **Installation**:
   1. Pipe shall be installed on uniform grade (.005) bearing on native material (NO OVERDIGGING).
   2. Pipe shall be rubber gasket joint, and each joint shall have an 18” wide strip of filter fabric secured around it.
3. **Backfill**:
   1. Select native material shall be utilized as backfill
      1. Backfill must be compacted to 94% standard proctor.
      2. A 6” layer of limestone shall be placed both before and after the pipe crossing for the full width of the roadway.
4. Certificate of Liability and Workers’ Comp must be included with each submitted bid.
   1. These certificates must be presented to HCDC each contractual year, prior to expiration.
   2. These Certificates may not be necessary for sale only bids.
5. **MPC Number** – Material Purchase Certificate and Contractor Qualifications must be provided to HCDC.