## War Memorial
WAR MEMORIAL - FILTER CHANGE SCHEDULE
|  |  | FILTER DIMENSIONS | SERVICE CYCLE | EXPECTED SERVICE VISITS FOR FOR ONE (1) YEAR | ONE (1) YEAR SUPPLY AND SERVICE FEE | REMARKS (SEE BELOW)
UNIT | FILTER TYPE | QUANTITY | L x W x D (INCHES) | (DAYS)
AHU-1 | MERV 13 , PLEATED, THROW AWAY | 2 | 17.69 X 22.25 X 2 | 60 | 6 | $ | 1
AHU-2A | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 24 X 2 | 60 | 6 | $ | 1
AHU-2B | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 24 X 2 | 60 | 6 | $ | 1
AHU-3 | MERV 13 , PLEATED, THROW AWAY | 2 | 12 X 24 X 2 | 60 | 6 | $ | 1
AHU-4 | MERV 13 , PLEATED, THROW AWAY | 2 | 16 X 20 X 2 | 60 | 6 | $ | 1
AHU-5 | MERV 13 , PLEATED, THROW AWAY | 2 | 25 X 20 X 2 | 60 | 6 | $ | 1
AHU-6 | MERV 13 , PLEATED, THROW AWAY | 2 | 16 X 20 X 2 | 60 | 6 | $ | 1
AHU-7 | MERV 13 , PLEATED, THROW AWAY | 2 | 25.38 X 21.88 X 2 | 60 | 6 | $ | 1
AHU-8 | MERV 13 , PLEATED, THROW AWAY | 2 | 25 X 20 X 2 | 60 | 6 | $ | 1
AHU-9 | MERV 13 , PLEATED, THROW AWAY | 2 | 12 X 24 X 2 | 60 | 6 | $ | 1
AHU-10 | MERV 13 , PLEATED, THROW AWAY | 2 | 25 X 20 X 2 | 60 | 6 | $ | 1
AHU-11 | MERV 13 , PLEATED, THROW AWAY | 2 | 12 X 24 X 2 | 60 | 6 | $ | 1
| MERV 13 , PLEATED, THROW AWAY | 2 | 20 X 24 X 2 | 60 | 6 | $ | 1
AHU-12 | MERV 13 , PLEATED, THROW AWAY | 2 | 25 X 20 X 2 | 60 | 6 | $ | 1
BVU-1 | MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 24 X 2 | 60 | 6 | $ | 2
| MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 12 X 2 | 60 | 6 | $ | 2
BVU-2 | MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 24 X 2 | 60 | 6 | $ | 2
| MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 12 X 2 | 60 | 6 | $ | 2
BVU-3 | MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 24 X 2 | 60 | 6 | $ | 2
| MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 12 X 2 | 60 | 6 | $ | 2
BVU-4 | MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 24 X 2 | 60 | 6 | $ | 2
| MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 12 X 2 | 60 | 6 | $ | 2
FCU-1 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 3
FCU-2 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 3
FCU-3 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 3
FCU-4 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 3
FCU-5 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 24.75 X 1 | 60 | 6 | $ | 3
FCU-6 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 24.75 X 1 | 60 | 6 | $ | 3
FCU-7 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 24.75 X 1 | 60 | 6 | $ | 3
FCU-8 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 24.75 X 1 | 60 | 6 | $ | 3
FCU-9 | MERV 13 , PLEATED, THROW AWAY | 2 | 9.38 X 26.00 X 1 | 60 | 6 | $ | 3
FCU-10 | MERV 13 , PLEATED, THROW AWAY | 1 | 12 X 20 x 1 | 30 | 12 | $ | 4
FCU-11 | MERV 13 , PLEATED, THROW AWAY | 1 | 12 X 20 x 1 | 30 | 12 | $ | 4
FCU-12 | MERV 13 , PLEATED, THROW AWAY | 1 | 12 X 20 x 1 | 30 | 12 | $ | 4
FCU-13 | MERV 13 , PLEATED, THROW AWAY | 1 | 21.5 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-14 | MERV 13 , PLEATED, THROW AWAY | 1 | 27 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-15 | MERV 13 , PLEATED, THROW AWAY | 1 | 27 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-16 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-17 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-18 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-19 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-20 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-21 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-22 | MERV 13 , PLEATED, THROW AWAY | 1 | 14 x 25 x 1 | 30 | 12 | $ | 4
FCU-23 | MERV 13 , PLEATED, THROW AWAY | 1 | 14 x 25 x 1 | 30 | 12 | $ | 4
FCU-24 | MERV 13 , PLEATED, THROW AWAY | 1 | 14 x 25 x 1 | 30 | 12 | $ | 4
FCU-25 | MERV 13 , PLEATED, THROW AWAY | 1 | 14 x 25 x 1 | 30 | 12 | $ | 4
FCU-26 | MERV 13 , PLEATED, THROW AWAY | 1 | 14 x 25 x 1 | 30 | 12 | $ | 4
FCU-27 | MERV 13 , PLEATED, THROW AWAY | 1 | 20 x 12 x 1 | 30 | 12 | $ | 4
FCU-28 | MERV 13 , PLEATED, THROW AWAY | 1 | 27 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-29 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-30 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 6
FCU-31 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 6
FCU-32 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 6
1. AIR HANDLING UNIT 2. ROOFTOP BUILDING VENTILATION UNIT 3. FAN COIL UNIT 4. VERTICAL CABINET FAN COIL UNIT WITH LOW RETURN 5. VERTICAL, SLOPED TOP, FLOOR MOUNTED CABINET FAN COIL UNIT 6. HORIZONTAL, HIDEAWAY FAN COIL UNIT
BID FOR ALTERNATE LOCATION
Bid shall include the provision of services at the alternate location: War Memorial, on a scheduled basis.
|  | Year 1 | Year 2 | 3-Year Total | 3-Year Total | Year-4* | Year-5*
| Annual Cost | $ | $ | $ | $ | $ | $
*renewal years

## Sun and Sands
SUN-N-SAND - FILTER CHANGE SCHEDULE
|  |  | FILTER DIMENSIONS | SERVICE CYCLE | EXPECTED SERVICE VISITS FOR FOR ONE (1) YEAR | ONE (1) YEAR SUPPLY AND SERVICE FEE | REMARKS
UNIT | FILTER TYPE | QUANTITY | L X W X D (INCHES) | (DAYS)
RTU-1 | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 20 X 2 | 60 | 6 | $ | 1
RTU-2 | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 20 X 2 | 60 | 6 | $ | 1
RTU-3 | MERV 13 , PLEATED, THROW AWAY | 4 | 16 X 20 X 2 | 60 | 6 | $ | 1
RTU-4 | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 25 X 2 | 60 | 6 | $ | 1
RTU-5 | MERV 13 , PLEATED, THROW AWAY | 4 | 16 X 20 X 2 | 60 | 6 | $ | 1
RTU-6 | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 20 X 2 | 60 | 6 | $ | 1
RTU-7 | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 25 X 2 | 60 | 6 | $ | 1
MSE-1 | MERV 13 , PLEATED, THROW AWAY | 2 | 20 X 8 X 4.35 | 90 | 4 | $ | 2
MSE-2 | WASHABLE | 2 | 12 X 13.625 | 90 | 4 | $ | 3
1. PACKAGED ROOFTOP UNIT 2. DISPOSABLE, SYNTHETIC, ELECTROSTATICALLY CHARGED, NON-WOVEN MEDIA 3. WASHABLE FILTERS - FILTERS MEASURED EDGE TO EDGE
BID FOR ALTERNATE LOCATION
Bid shall include the provision of services at the alternate location: Sun and Sands, on a scheduled basis.
|  | Year 1 | Year 2 | Year 3 | 3-Year Total | Year-4* | Year-5*
| Annual Cost | $ | $ | $ | $ | $ | $
*Renewal Years

## Robert E Lee
Building & Specifications | Number of Filters and Filter Sizes | Service Cycle (Stated Days Per Year) | Expected service visits for a one (1) year term | Total Cost Per One Year Cycle | First Anticipated Service Install Date
7. Robert E. Lee Building
262-MERV 13 Polyester Pads | 262 - 10 .75 X 30.75 | 180 | 2 | $ | TBD
7-0.5" MERV 13 Poly Panels | 7-10.75 X 30.75 | 180 | 2 | $ | TBD
1-2" MERV 13 Pleated Inserts | 1-16 X 20 | 180 | 2 | $ | TBD
19-1" MERV 13 Poly Panels | 14 - 10 X 30 | 180 | 2 | $ | TBD
4 - 20 X 20
1 - 21 X2 1
BID FOR ALTERNATE LOCATION
Bid shall include the provision of services at the alternate location specs: Robert E. Lee Buildig, on a scheduled basis.
| Year 1 | Year 2 | Year 3 | 3-Year Total | Year-4* | Year-5*
Annual Cost | $ | $ | $ | $ | $ | $