## War Memorial
AMENDMENT 1 - ALTERNATE LOCATION BID FORM - UPDATED
WAR MEMORIAL - FILTER CHANGE SCHEDULE
|  |  | FILTER DIMENSIONS | SERVICE CYCLE | EXPECTED SERVICE VISITS FOR FOR ONE (1) YEAR | ONE (1) YEAR SUPPLY AND SERVICE FEE | REMARKS (SEE BELOW)
UNIT | FILTER TYPE | QUANTITY | L x W x D (INCHES) | (DAYS)
AHU-1 | MERV 13 , PLEATED, THROW AWAY | 2 | 17.69 X 22.25 X 2 | 60 | 6 | $ | 1
AHU-2A | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 24 X 2 | 60 | 6 | $ | 1
AHU-2B | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 24 X 2 | 60 | 6 | $ | 1
AHU-3 | MERV 13 , PLEATED, THROW AWAY | 2 | 12 X 24 X 2 | 60 | 6 | $ | 1
AHU-4 | MERV 13 , PLEATED, THROW AWAY | 2 | 16 X 20 X 2 | 60 | 6 | $ | 1
AHU-5 | MERV 13 , PLEATED, THROW AWAY | 2 | 25 X 20 X 2 | 60 | 6 | $ | 1
AHU-6 | MERV 13 , PLEATED, THROW AWAY | 2 | 16 X 20 X 2 | 60 | 6 | $ | 1
AHU-7 | MERV 13 , PLEATED, THROW AWAY | 2 | 25.38 X 21.88 X 2 | 60 | 6 | $ | 1
AHU-8 | MERV 13 , PLEATED, THROW AWAY | 2 | 25 X 20 X 2 | 60 | 6 | $ | 1
AHU-9 | MERV 13 , PLEATED, THROW AWAY | 2 | 12 X 24 X 2 | 60 | 6 | $ | 1
AHU-10 | MERV 13 , PLEATED, THROW AWAY | 2 | 25 X 20 X 2 | 60 | 6 | $ | 1
AHU-11 | MERV 13 , PLEATED, THROW AWAY | 2 | 12 X 24 X 2 | 60 | 6 | $ | 1
| MERV 13 , PLEATED, THROW AWAY | 2 | 20 X 24 X 2 | 60 | 6 | $ | 1
AHU-12 | MERV 13 , PLEATED, THROW AWAY | 2 | 25 X 20 X 2 | 60 | 6 | $ | 1
BVU-1 | MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 24 X 2 | 60 | 6 | $ | 2
| MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 12 X 2 | 60 | 6 | $ | 2
BVU-2 | MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 24 X 2 | 60 | 6 | $ | 2
| MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 12 X 2 | 60 | 6 | $ | 2
BVU-3 | MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 24 X 2 | 60 | 6 | $ | 2
| MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 12 X 2 | 60 | 6 | $ | 2
BVU-4 | MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 24 X 2 | 60 | 6 | $ | 2
| MERV 13 , PLEATED, THROW AWAY | 2 | 24 X 12 X 2 | 60 | 6 | $ | 2
FCU-1 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 3
FCU-2 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 3
FCU-3 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 3
FCU-4 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 3
FCU-5 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 24.75 X 1 | 60 | 6 | $ | 3
FCU-6 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 24.75 X 1 | 60 | 6 | $ | 3
FCU-7 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 24.75 X 1 | 60 | 6 | $ | 3
FCU-8 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 24.75 X 1 | 60 | 6 | $ | 3
FCU-9 | MERV 13 , PLEATED, THROW AWAY | 2 | 9.38 X 26.00 X 1 | 60 | 6 | $ | 3
FCU-10 | MERV 13 , PLEATED, THROW AWAY | 1 | 12 X 20 x 1 | 30 | 12 | $ | 4
FCU-11 | MERV 13 , PLEATED, THROW AWAY | 1 | 12 X 20 x 1 | 30 | 12 | $ | 4
FCU-12 | MERV 13 , PLEATED, THROW AWAY | 1 | 12 X 20 x 1 | 30 | 12 | $ | 4
FCU-13 | MERV 13 , PLEATED, THROW AWAY | 1 | 21.5 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-14 | MERV 13 , PLEATED, THROW AWAY | 1 | 27 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-15 | MERV 13 , PLEATED, THROW AWAY | 1 | 27 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-16 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-17 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-18 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-19 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-20 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-21 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-22 | MERV 13 , PLEATED, THROW AWAY | 1 | 14 x 25 x 1 | 30 | 12 | $ | 4
FCU-23 | MERV 13 , PLEATED, THROW AWAY | 1 | 14 x 25 x 1 | 30 | 12 | $ | 4
FCU-24 | MERV 13 , PLEATED, THROW AWAY | 1 | 14 x 25 x 1 | 30 | 12 | $ | 4
FCU-25 | MERV 13 , PLEATED, THROW AWAY | 1 | 14 x 25 x 1 | 30 | 12 | $ | 4
FCU-26 | MERV 13 , PLEATED, THROW AWAY | 1 | 14 x 25 x 1 | 30 | 12 | $ | 4
FCU-27 | MERV 13 , PLEATED, THROW AWAY | 1 | 20 x 12 x 1 | 30 | 12 | $ | 4
FCU-28 | MERV 13 , PLEATED, THROW AWAY | 1 | 27 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-29 | MERV 13 , PLEATED, THROW AWAY | 1 | 38 x 8.75 x 1 | 30 | 12 | $ | 5
FCU-30 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 6
FCU-31 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 6
FCU-32 | MERV 13 , PLEATED, THROW AWAY | 1 | 9.38 X 19.25 X 1 | 60 | 6 | $ | 6
1. AIR HANDLING UNIT 2. ROOFTOP BUILDING VENTILATION UNIT 3. FAN COIL UNIT 4. VERTICAL CABINET FAN COIL UNIT WITH LOW RETURN 5. VERTICAL, SLOPED TOP, FLOOR MOUNTED CABINET FAN COIL UNIT 6. HORIZONTAL, HIDEAWAY FAN COIL UNIT
BID FOR ALTERNATE LOCATION
Bid shall include the provision of services at the alternate location: War Memorial, on a scheduled basis.
|  | Year 1 | Year 2 | 3-Year Total | 3-Year Total | Year-4* | Year-5*
| Annual Cost | $ | $ | $ | $ | $ | $
*renewal years

## Sun and Sands
AMENDMENT 1 - ALTERNATE LOCATION BID FORM - UPDATED
SUN-N-SAND - FILTER CHANGE SCHEDULE
|  |  | FILTER DIMENSIONS | SERVICE CYCLE | EXPECTED SERVICE VISITS FOR FOR ONE (1) YEAR | ONE (1) YEAR SUPPLY AND SERVICE FEE | REMARKS
UNIT | FILTER TYPE | QUANTITY | L X W X D (INCHES) | (DAYS)
RTU-1 | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 20 X 2 | 60 | 6 | $ | 1
RTU-2 | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 20 X 2 | 60 | 6 | $ | 1
RTU-3 | MERV 13 , PLEATED, THROW AWAY | 4 | 16 X 20 X 2 | 60 | 6 | $ | 1
RTU-4 | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 25 X 2 | 60 | 6 | $ | 1
RTU-5 | MERV 13 , PLEATED, THROW AWAY | 4 | 16 X 20 X 2 | 60 | 6 | $ | 1
RTU-6 | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 20 X 2 | 60 | 6 | $ | 1
RTU-7 | MERV 13 , PLEATED, THROW AWAY | 4 | 20 X 25 X 2 | 60 | 6 | $ | 1
MSE-1 | MERV 13 , PLEATED, THROW AWAY | 2 | 20 X 8 X 4.35 | 90 | 4 | $ | 2
MSE-2 | WASHABLE | 2 | 12 X 13.625 | 90 | 4 | $ | 3
1. PACKAGED ROOFTOP UNIT 2. DISPOSABLE, SYNTHETIC, ELECTROSTATICALLY CHARGED, NON-WOVEN MEDIA 3. WASHABLE FILTERS - FILTERS MEASURED EDGE TO EDGE
BID FOR ALTERNATE LOCATION
Bid shall include the provision of services at the alternate location: Sun and Sands, on a scheduled basis.
|  | Year 1 | Year 2 | Year 3 | 3-Year Total | Year-4* | Year-5*
| Annual Cost | $ | $ | $ | $ | $ | $
*Renewal Years