Company Name:

Company Address:

Phone Number:

# Special Requirements for Bids

## Forrest Health

## Home Care Services

Attention: Purchasing

125 South 28th Avenue

Hattiesburg, MS  39401

(601) 288-1910

# BID MUST BE RETURNED NO LATER THAN

March 14, 2016 at 2:00 p.m.

Return Bid Envelope Must Be Marked on Outside:

BID #1548

### Negative Pressure Wound Therapy Equipment Purchase

# Bid Opening Date:  March 14, 2016

Bid Opening Time:  Immediately after 2:00 p.m.

Bid Opening To Take Place:

# Forrest Health

Purchasing Department

125 South 28th Avenue

Hattiesburg, MS  39401

Forrest Health, Home Care Services reserves the right to accept or reject any or all bids, as well as waive any and all informalities it deems appropriate.

From:  Stacie Dickerson

Forrest Health

Purchasing Department

125 South 28th Avenue

Hattiesburg, MS  39401

#### SUBJECT:  BID INSTRUCTIONS

You are invited to bid on the attached request for quotation. Please read the information carefully.

The terms and conditions stated in this Request for Quotation shall be considered agreed to, unless specified otherwise. The Board reserves the right to reject any and all bids and to waive irregularities and informalities in the bid.

Please place your Company Name, Address, and Telephone number on the top of page one (1). Provide price per specifications including delivery fee on page six (6), provide signature of an official of your company at the bottom of page six (6), and nine (9).

### Return your bid as specified on the attached “Bid Summary” page to the above address for the Forrest Health, Home Care Services Purchasing Department in a sealed envelope.  Quotation envelope must be marked with “BID #1548 ENCLOSED” and Negative Pressure Wound Therapy Equipment Purchase on the outside of the sealed envelope.

Quotations received after the specified date, time and/or without bid # on the outside of the envelope, shall not be considered.  Faxed copies of bid will only be accepted if faxed to an outside source and delivered to Forrest Health Purchasing Department in a sealed envelope with all required information on outside of envelope.

Thank you,

Stacie Dickerson

Contracts Coordinator of Materials Management

# REQUEST FOR QUOTATION/PROPOSAL

## Forrest Health Home Care Services

125 South 28th Avenue, Hattiesburg, MS  39401

(FOR SPECIFIED LOCATIONS)

Forrest Health, Home Care Services reserves the right to reject any/or all bids and waive any informalities.

### Negative Pressure Wound Therapy Equipment Purchase

For all practical purposes in other sections of the bid specifications, the proposing bidder may be referred to as the “Vendor” and Forrest Health, Home Care Services may be referred to as the “Facility.”

Purpose

Proposals and/or bids are being sought by Facility for a Negative Pressure Wound Therapy Equipment Purchase.

Bid Overview

The Awarded Vendor(s) must provide detailed specifications and build time and estimated time of delivery.

Forrest Health Home Care Services

- The facility shall provide one or more representative(s) to clarify bid specifications, answer questions, receive the bid proposals, and determine the awarded vendor.

- The awarded vendor will be notified after the bid opening by telephone and letter.  Please include your name, mailing address and telephone with your bid.  A single contract shall be left for all items described below.

- The facility reserves the right to reject any/or all bids submitted and waive any informalities, whichever is in the best interest of the facility.

Vendor Responsibility

- Vendor shall provide a representative to communicate with the Facilities representative to answer questions, verify bid specifications, receive purchase orders, coordinate delivery and verify receipts and invoices.

- Vendor shall provide a quality product as requested by the Facility. Items which do not meet expectations for quality and satisfaction will have to be fixed or repaired by vendor within adequate amount of time determined by Vendor and Facility.  FOB destination.

- Alternate proposals with regard to “Group Purchasing Contracts” (example:  VHA/Novation, Amerinet, MedAssets, Direct Medical/MHA, NJPA, State of Mississippi) must include detailed contract information (i.e. contract date, contract number).

- Vendor is required to register the company and sales team with Forrest Health’s authorized Vendor Credentialing Program, VendorMate.

- The Vendor Representative will be responsible for completing and signing all documents included in the bid packet. Vendors who do not submit all required documents at the time of bid opening will not be considered.

- Forrest Health, Home Care Services will not be responsible for completing credit applications submitted by the awarded vendor.  Financial documents are included in the attached documentation.

Bid Product Specifications and Information

The successful bidder’s pricing must be FIRM, meet the specifications provided, and include all transportation fees.

Pump(s):

1. The pump must be equipped with a positive on/off switch.

2. The pump must operate on standard 120V electrical current and have a built-in fuse to

protect against overload.

3. The pump must be a portable unit.

4. It must be equipped with a chargeable battery with automatic cut-over in the event of electrical failure.

5. The pump must be equipped with flashing light and/or audible alarm indicators.

6. The pump must be equipped with a vacuum pressure regulator.

7. The pump must provide both continuous and intermittent vacuum operation.

8. The pump must provide variable negative suction pressure up to at least 150mmhg

Canister(s):

9. The system must provide reusable / disposable canister or cassettes designed to operate

with the pump for wound drainage.

10. The canister must be equipped with an overflow switch or auto shut off in the event

canister becomes full.

11. Equipment must be UL listed/approved.

12. Equipment must be clean and free from obvious defects.

13. All preventative maintenance will be handled by the company on-site at Home Care/Forrest General Hospital when it comes due.

14. Equipment must be safety tested and inspected prior to arrival and must deliver a copy of the individual certificates that document this electronically to the Biomed Department.

Dressing sets, supplies and accessories:

1. The Contractor shall provide a media or application dressing that is designed to be placed

in or on top of the wound and which is compatible with the proposed pump.  Please attach a list with lowest possible pricing.

2. The Contractor shall provide tubing designed to be placed between the vacuum pump and

applicable dressing which is compatible with the proposed pump. Please attach a list with lowest possible pricing.

Additional Requirements:

1. The Contractor shall also provide pre-paid return shipping labels so that component

parts of the system can be returned to the Contractor when service or repair become necessary

2. Contractor must be an original equipment manufacturer (OEM), authorized distributor, or dealer authorized by manufacturer with service and repair capabilities for the equipment.

3. All items bid shall be manufacturer's current production products, unless otherwise

specified.  All equipment bid must be new, unless otherwise specified.

4. 3 Year Warranty to include parts, repairs and loaners

Estimated time of delivery:                                                       Date________________

New Product Bid:

Provide the each bid price in the space:  $_______   Bid Total for 20 each $________________

Refurbished Product Bid:

Provide the each bid price in the space:  $_______   Bid Total for 20 each $________________

Bidders who are non-residents of the State of Mississippi must comply with the provisions of Section 31-3-21(3) of the Mississippi Code of 1972, as amended.

I certify that my company and I qualify to do business as a resident of the State of Mississippi.

Yes		  No

As a non-resident person, firm or corporation, I confirm that a copy of my Resident State’s Law pertaining to my state’s treatment of non-resident bidders is attached.

Confirmed:  Yes		 No

We quote/propose you as specified by Forrest Health, Home Care Services in this Bid.

Date

Vendor

Address

Official Signature

Print Name & Title

FORREST COUNTY GENERAL HOSPITAL

STANDARD CONTRACT ADDENDUM

This standard contract addendum (“Addendum”) is an integral part of contracts entered into by Forrest County General Hospital (“FCGH”) and shall become a part of the Agreement with ____________________________________________ (“Contractor”) as if fully copied into the body of that Agreement.  The following terms shall control over any and all conflicting parts of the Agreement:

- FCGH is a political subdivision of the State of Mississippi and is afforded the protection of limited sovereign immunity pursuant to the Mississippi Tort Claims Act (Mississippi Code Annotated, Section §11-46-1, et seq. as amended) and the Mississippi Constitution, including Article 4, Section 100.  Any action against FCGH shall be subject to the limitations contained in those and other applicable laws, including interpretations by the Mississippi Attorney General’s Office of the laws applicable to FCGH and/or the Agreement, none of which are waived by FCGH by entering into the Agreement.

- FCGH contracts (including the Agreement) are governed by and interpreted under the laws of the State of Mississippi and the jurisdiction/venue for  any litigation, special proceeding or other proceeding as between the parties that may be brought, or arise out of, in connection with, or by reason of the Agreement shall be in  Forrest County, Mississippi.

- No contract (including the Agreement) may be for a term of more than three (3) years unless it is an agreement regarding physical property (i.e., lease agreement for buildings, property, etc.).

- Generally, Mississippi law does not allow FCGH to agree to contractual provisions under which it indemnifies or holds harmless another person or entity. Only to the extent permissible by Mississippi law does FCGH agree to any vendor’s references, if any, to limitation of liabilities, damages, and indemnifications.

- Any references to attorney's fees to be paid by FCGH are deleted.  Any reference to FCGH indemnifying or holding harmless the Contractor is deleted; FCGH does not agree to defend any contractor.  Each party shall be responsible for its own defense against all claims, liabilities, losses and expenses, including reasonable costs, collection expenses and attorneys' fees, which may arise because of the negligence, misconduct or other fault of its own agents or employees in the performance of its obligations under this Agreement.   Mississippi law also does not allow FCGH to agree to mandatory arbitration, choice of law (other than Mississippi), or choice of venue (other than Forrest County, Mississippi), and provisions in the Agreement to the contrary are hereby deleted.

- All references to interest, penalties, and/or late fees to be paid by FCGH on other than lease-purchase contracts not exceeding five years are deleted.  FCGH will pay within forty-five (45) days of invoice, receipt, inspection and approval of goods and services as provided in §31-7-305(3) of the Code.

- In the event Contractor does not furnish products or services as agreed upon in the Agreement, including any stated time period to cure, FCGH may, at its discretion, declare the Agreement null and void by written notice to the Contractor or may require the Contractor, at Contractor's expense, to make such modification as necessary to make the products or services satisfactory.

- As a political subdivision of the State, FCGH maintains professional and general liability coverage (or equivalent self-insurance) in the amounts set forth by the Mississippi Tort Claims Act under MS Code Annotated, Section 11-46-1, et seq.) and does not name others as additional insured’s.

- In the event of any conflict between the terms of the Agreement and the terms of this Standard Addendum, the terms of this Addendum shall control.  This Addendum and the Agreement constitute the entire agreement of the Parties with regard to the subject matter of the Agreement.  In all other respects, the Agreement shall remain unchanged.  No modification to the Agreement or any term thereof may be amended except pursuant to in writing signed by an authorized representative of FCGH.  Contractor hereby acknowledges that no other person has authority to bind FCGH to any change in any term of the Agreement, and specifically agrees that any Contractor cannot vary the terms of the Agreement by invoice, purchase order, memo or otherwise, unless it secures the signature of  an authorized FCGH representative, acknowledging and expressly agreeing to the change.  No acceptance or payment of an invoice by FCGH where the terms of that invoice that vary the Agreement shall constitute an amendment to the Agreement, but to the contrary shall be treated as mutual mistake and Contractor shall refund any payment received from FCGH which is not in compliance with the price terms and other provisions of the Agreement.

- Contractor agrees to abide by the requirements of the Mississippi Employment Protection Act (E-Verify Program), as amended, by registering to do business with the Mississippi Department of Employment Security.   Contractor further agrees that it shall only employ persons who are legal citizens of the United States or are legal aliens, properly documented and verified by Contractor in compliance with all applicable statutes, regulations and other laws.

- If providing on site services, Contractor agrees to comply with fingerprinting and criminal history record checks requirements in accordance with Sections 37-29-232 and 43-11-13, Mississippi Code of 1972, as amended, to the extent applicable to Contractor.  Contractor shall be responsible for ascertaining the application of those laws to it and its employees providing services under the Agreement.

- If providing on-site patient care or on-site services in close proximity to patients, Contractor agrees to ensure its on-site staff have been drug screened no more than thirty (30) days prior to beginning the on-site assignment, using a drug screen procedure that is comparable to the drug screen currently used by FCGH in its post-offer pre-employment drug screening process.

- Mississippi law limits those who can bind FCGH to any contractual provision and Contractor understands and agrees to this.  Any changes in the Agreement, as to price or other terms, shall not be effective unless approved in writing signed by an authorized representative of FCGH.

- Until the expiration of four (4) years after the furnishing of any Services hereunder, Contractor shall make available upon written request to the Department of Health and Human Services, or upon request to the Comptroller General of the United States, or of their duly authorized representatives this Agreement and the books, documents and records that are necessary to certify the nature and extent of the costs of the Agreement.

COMPLIANCE: As part of FCGH's overall Compliance Program, Contractor shall establish procedures and insure adherence to all applicable state and federal statutes, including but not limited to, the Stark Law (§42 USC 1395), the federal False Claims Act, the Medicare Anti-kickback Statutes, the federal Civil Monetary Penalty Act, the provisions of the Medicare carrier manual, Medicare and Medicaid statutes and regulations, the Emergency Medical Treatment and Active Labor Act (EMTALA), the Balanced Budget Act, and the Patient Protection and Affordable Care Act of 2010.  All performance by Contractor pursuant to the Agreement shall be done in compliance with the applicable rules and regulations of the Dept Norske Veritas (FCGH’s accreditation entity) and any third party payer.

Contractor certifies that it has not been disqualified in any manner from any federally funded program, is in compliance with all state, federal and local laws applicable to it and to its performance of the Agreement, and Contractor has never been debarred or limited in any manner from participation in the matters relevant to the Agreement.

___________________________    			________________________

Contractor						Signature

_____________________________			______________________________

Date							Title