INVITATION TO BID

Sealed bids will be received by the City of Brandon, Mississippi, until 10:00 a.m. on September 15, 2017, in the office of the City Clerk, 1000 Municipal Drive, Brandon, Mississippi, 39042.

Bids will be taken for the following:  			Sanitary Sewer Manholes

Precast concrete manholes shall consist of precast reinforced riser sections, an eccentric cone top section and a base section conforming to typical manhole details.  Precast reinforced concrete manhole sections shall conform to all of the requirements of ASTM Designation C-478 and shall have not more than two holes for the purpose of handling.  The concrete mixture used in the manufacture of the manholes and components shall incorporate Zypex per the manufacturers recommended mixture rates.

Bidder shall bid per foot delivered price of the various sizes of pipe and manholes listed below:

Coated W/Zypex

Eccentric Cone Section Tap Section 		__________Ea.

Riser with Steps                              		__________Vertical Ft.

Base Section “A” 				__________Ea.

Base Section “B”				__________Ea.

Various Accessories

Adjusting Ring – 4”		        	 	__________Ea.

Adjusting Ring – 6”				__________Ea.

Rubber Adjusting Ring – 4”			__________Ea.

Rubber Adjusting Ring – 6”			__________Ea.

4” – Cor-N-Seal Boots				__________Ea.

6” – Cor-N-Seal Boots				__________Ea.

8” – Cor-N-Seal Boots				__________Ea.

10”–Cor-N-Seal Boots				__________Ea.

Price shall be in effect from October 1, 2017, to September 30, 2018.

The bid must be received in a sealed envelope, which is marked in the lower left-hand corner with “Bid Number 2017-016” and the NAME OF ITEM or matter on which bid is being made and the DATE OF BID OPENING.

The City reserves the right to reject any or all bids, to accept any bid deemed to be in the best interest of the City, and to waive informalities.

By:	Butch Lee, Mayor

Angela Bean, City Clerk

Publication Dates:	August 16, 2017

August 23, 2017