**ADVERTISEMENT FOR THE PURCHASE OF ONE (1)**

**TOWABLE 80KW GENERATOR MULTI-VOLTAGE**

**WITH ONE (1) 200 AMP AUTO TRANSFER SWITCH AND**

**FIVE (5) MANUAL TRANSFER SWITCHES**

**3 PHASE 240 VOLT CAM LOCK ENCLOSURE**

**FOR WEST TALLAHATCHIE UTILITIES**

**WELLS AND LIFT PUMPS**

 Notice is hereby given that the Board of Supervisors of Tallahatchie County, Mississippi will accept bids for the purchase of a Towable 80KW Generator Multi-Voltage with One (1) 200 amp Transfer Switch and Five (5) Manual Transfer Switches 3 Phase 240 Volt Cam Lock Enclosure for West Tallahatchie Utilities wells and lift pumps until the hour of 10:00 o’clock a.m. on Tuesday, the 9th day of February, 2016 at the Tallahatchie County Courthouse in Charleston, Mississippi, 38921, and said bids shall be opened on Tuesday, the 9th day of February, 2016 at the hour of 11:00 o’clock a.m. at the Tallahatchie County Courthouse in Charleston, Mississippi. Detailed specifications may be obtained by contacting Anita Mullen Greenwood, Chancery Clerk of Tallahatchie County, Mississippi at 662/647-5551 or by mail to Anita Mullen Greenwood, at Post Office Box 350, Charleston, Mississippi 38921.

**INSTRUCTIONS TO BIDDERS:**

1. No responsibility will be attached to any person employed by the Board of Supervisors of Tallahatchie County, Mississippi, for the premature opening of any bid not properly addressed and identified as stipulated below:

**BID FOR: ONE (1) TOWABLE 80KW GENERATOR MULTI-VOLTAGE WITH 3 PHASE CAPACITY AT 60HZ: 80KW, 100KVA AT 120/208 VOLT, 3 PHASE, 4-WIRE, WYE, 120/240 VOLT, 3 PHASE, 4 WIRE, DELTA, OR 277/480, 3 PHASE, 4 WIRE WYE, WITH ONE (1) 200 AMP AUTO TRANSFER SWITCH AND FIVE (5) MANUAL TRANSFER SWITCHES 3 PHASE 240 VOLT CAM LOCK ENCLOSURE.**

**NOTE: BID TO INCLUDE FURNISHING ALL LABOR, AND MATERIAL, AND INSTALLATION AT EACH SITE LISTED AND GENERATOR START-UP TEST**

**TO BE PERFORMED AT EACH LOCATION INDICATED IN ITEM #12.**

1. Any exceptions to the specifications must be listed in the bidders bid with justification. Failure to do so will disqualify the bid.
2. Price bid shall be for F.O.B. Tallahatchie County, Mississippi, and must include any pre-delivery and/or setup charges, title fees and inspection fees.
3. The bidder shall complete the unit price bid with no further calculations required in order to determine the firm unit price.
4. Bids must be signed and dated by the bidders authorized agent.
5. All bids must state Manufacturer Warranty.
6. All bids must state approximate delivery time.
7. Location for parts and service must be included in the bid and will be a factor in determining the best bid.
8. All bids must include a municipal purchase quote with terms of three (3), four (4), and five (5) years annual payment in arrears.
9. It shall be incumbent upon each bidder to understand the specifications on the bid form and to obtain clarification when necessary. It is not the intent of the specifications to limit the bidding process to any make or manufacturer, but to fill a specific need and to perform a specific task.
10. The Board of Supervisors of Tallahatchie County, Mississippi reserves the right to determine which the lowest and best bid is and to accept or reject any or all bids based on that determination.
11. Location of five (5) manual transfer switches and one (1) automatic transfer switch as listed:

Lift Pump #1 - Goosepond Circle, Tutwiler, MS 38963- Manual Transfer Switch.

Lift Pump #2 – Goosepond Circle, Tutwiler, MS 38963 – Manual Transfer Switch.

Lift Pump #3 – Laura Street, Webb, MS 38966 – Manual Transfer Switch.

Lift Pump #4 – Oil Mill Road, Tutwiler, MS 38963 – Manual Transfer Switch.

Lift Pump #5 – Friendship Road, Tutwiler, MS 38963 – Manual Transfer Switch.

Well – 22 Garrett Road, Tutwiler, MS 38963- Automatic Transfer Switch.

Given by order of the Tallahatchie County Board of Supervisors on this the 11th day of January, 2016.

 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ANITA MULLEN GREENWOOD

 CHANCERY CLERK

Posted: January 21st and January 28th, 2016.